## source
Sample ID | Location ID | Sample description | Sample type | Latitude | Longitude | Sea Level | Depth below ground | Sampling date | Total Ca | Total Mg | Total Na | Total K | Total Ba | TotalFe | Total Mn | Total Al | Total Zn | Total Pb | Total Cu | Total As | Total Cd | Total Sb | Total Si | Total Ni | Total Cr | Total Sr | Fluoride | Ammonium | Nitrite | Nitrate | Chloride | Bromide | Nitrate | Phosphate | Nitrite | Sulphate | UV abs 200 | UV abs 210 | UV abs 220 | UV abs 230 | UV abs 254 | UV abs 260 | UV abs 280 | UV abs 300 | Fecal Coliforms | Total Coliforms | Putative Pathogens - Human E.coli | Putative Pathogens - Total E.coli | Putative Pathogens - Total Coliforrm | Total Bacteria
Method | [8 empty] | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | HACH PS | HACH PS | HACH PS | HACH PS | Ion Chromatography | Ion Chromatography | Ion Chromatography | Ion Chromatography | Ion Chromatography | Ion Chromatography | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | Plate count, HACH, EPA-600/8-8/017 | Plate count, HACH, EPA-600/8-8/018 | qPCR | qPCR | qPCR | qPCR
Lab | [8 empty] | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | Ardhi University | Ardhi University | Newcastle University | Newcastle University | Newcastle University | Newcastle University
Analyst | [8 empty] | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | David Werner | David Werner | David Werner | David Werner | Henriette Christensen | Henriette Christensen | Henriette Christensen | Henriette Christensen | Henriette Christensen | Henriette Christensen | David Werner | David Werner | David Werner | David Werner | David Werner | David Werner | David Werner | David Werner | Ramadani | Ramadani | Kishor Acharya | Kishor Acharya | Kishor Acharya | Kishor Acharya
unit | [8 empty] | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l |  | mg/l | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | #/100mL | #/100mL | gene copies/100mL | gene copies/100mL | gene copies/100mL | Total bacteria/100mL
S1_2017 | N0 | MFC Well | Shallow well | -6.8663 | 39.1973 | 59 | 2 | 10.11.2017 | 159 | 13.9 | 255 | 55.2 | 0.143 | 0.003 | 0.002 | 0.027 | 0.002 | 0.001 | 0.001 | 0.004 | 0.001 | 0.003 | 28.8 | 0.003 | 0.002 | 0.92 | 0.271 |  |  | 0.082 | 376 | 1.62 | 442 | 12 |  | 165 | 3.23 | 3.43 | 3.39 | 2.53 | 0.1 | 0.08 | 0.07 | 0.07 | 0 | 0 | 62200 | 5500000 | 872000000 | 4680000000
S2_2017 | N11 | Piezometer | Piezometer | -6.8663 | 39.1974 | 59 | 2 | 10.11.2017 | 190 | 22.7 | 326 | 66.7 | 0.174 | 0.008 | 0.148 | 0.021 | 0.014 | 0.001 | 0.002 | 0.006 | 0.001 | 0.003 | 23.8 | 0.006 | 0.002 | 0.96 | 0.295 |  |  | 0.315 | 355 | 1.46 | 432 | 16 |  | 217 | 3.28 | 3.5 | 3.49 | 3.07 | 0.2 | 0.18 | 0.15 | 0.13 | 9000 | 6000 | 74300 | 738000 | 75300000 | 4920000000
S3_2017 | N12 | Piezometer | Piezometer | -6.8663 | 39.1972 | 59 | 2 | 10.11.2017 | 256 | 36.5 | 418 | 197 | 0.37 | 0.005 | 0.296 | 0.02 | 0.023 | 0.001 | 0.004 | 0.005 | 0.001 | 0.002 | 34.3 | 0.012 | 0.001 | 1.27 | 0.811 |  |  | 0.26 | 742 | 2.31 | 1080 | 33 |  | 417 | 3.34 | 3.5 | 3.5 | 3.43 | 0.35 | 0.31 | 0.27 | 0.25 | 15000 | 22000 | 172000 | 70700000 | 1290000000 | 23000000000
S4_2017 | N13 | Piezometer | Piezometer | -6.8663 | 39.1973 | 59 | 2 | 10.11.2017 | 146 | 22.9 | 380 | 90.9 | 0.102 | 0.004 | 0.143 | 0.026 | 0.01 | 0.001 | 0.003 | 0.011 | 0.001 | 0.005 | 27.3 | 0.006 | 0.001 | 0.67 | 0.46 |  |  | 0.049 | 519 | 1.87 | 470 | 22 |  | 281 | 3.31 | 3.5 | 3.5 | 3.19 | 0.29 | 0.26 | 0.22 | 0.18 | 3000 | 5000 | 138000 | 6230000 | 236000000 | 8330000000
S5_2017 | N21 | Piezometer | Piezometer | -6.8665 | 39.1974 | 59 | 2 | 10.11.2017 | [21 empty] | 0.066 | 343 | 1.43 | 180 | 3 |  | 180 | 3.23 | 3.43 | 3.37 | 1.94 | 0.12 | 0.11 | 0.09 | 0.07 | 2000 | 4000 | 267000 | 2680000 | 85200000 | 2300000000
S6_2017 | N22 | Piezometer | Piezometer | -6.8662 | 39.1978 | 59 | 2 | 10.11.2017 | [18 empty] | 1.21 |  |  | 0.066 | 749 | 2.28 | 756 | 44 |  | 286 | 3.36 | 3.5 | 3.5 | 3.42 | 0.38 | 0.34 | 0.29 | 0.27 | 24000 | 39000 | 105000 | 22900000 | 5150000000 | 14200000000
S7_2017 | N23 | Piezometer | Piezometer | -6.8661 | 39.1971 | 59 | 2 | 10.11.2017 | [18 empty] | 0.292 |  |  | 0.043 | 197 | 0.61 | 231 | 13 |  | 141 | 3.24 | 3.46 | 3.41 | 2.32 | 0.16 | 0.14 | 0.12 | 0.1 | 2000 | 5000 | 667000 | 550000 | 38400000 | 9430000000
S8_2017 | CW | Church Well | Shallow well | -6.8658 | 39.1969 | 58 | 2 | 10.11.2017 | 94.7 | 11.1 | 245 | 53.7 | 0.106 | 0.013 | 0.035 | 0.019 | 0.026 | 0.001 | 0.006 | 0.006 | 0.001 | 0.004 | 20.6 | 0.005 | 0.001 | 0.54 | 0.276 |  |  | 1.531 | 385 | 1.35 | 220 | 10 |  | 208 | 3.27 | 3.5 | 3.48 | 2.59 | 0.27 | 0.25 | 0.2 | 0.16 | 11 | 27 | 95800 | 1790000 | 108000000 | 1180000000
S9_2017 | MPSB | Mogo Primary School Borehole | Borehole | -6.858 | 39.2024 | 54 | 100 | 10.11.2017 | 20.4 | 43.3 | 305 | 5.7 | 0.043 | 0.033 | 0.137 | 0.03 | 0.002 | 0.001 | 0.002 | 0.001 | 0.001 | 0.001 | 23.6 | 0.008 | 0.001 | 0.58 | 0.065 |  |  | 0.036 | 665 | 4.04 | 5 |  |  | 108 | 0.68 | 0.39 | 0.21 | 0.1 | 0.03 | 0.02 | 0.02 | 0.01 | 2 | 5 | 6600 | 1630000 | 28500000 | 334000000
S10_2017 | KPB | Karakata Primary School Borehole | Borehole | -6.8585 | 39.2031 | 56 | 80 | 10.11.2017 | 23.1 | 53.4 | 380 | 6.4 | 0.148 | 0.052 | 0.108 | 0.06 | 0.051 | 0.004 | 0.017 | 0.001 | 0.001 | 0.001 | 49 | 0.011 | 0.001 | 0.69 | 0.063 |  |  | 0.043 | 1003 | 5.12 | 38 |  |  | 121 | 3.07 | 2.85 | 1.41 | 0.4 | 0.04 | 0.04 | 0.03 | 0.02 | 12 | 18 | 1000 | 5500 | 669000 | 3070000
S11_2017 | P11 | Piezometer | Piezometer | -6.8655 | 39.1954 | 60 | 2 | 10.11.2017 | 18.5 | 2.01 | 20 | 16.2 | 0.034 | 0.029 | 0.027 | 0.048 | 0.002 | 0.001 | 0.001 | 0.003 | 0.001 | 0.001 | 10.9 | 0.002 | 0.001 | 0.1 | 0.166 |  |  | 0.089 | 11 |  | 1 | 4.85 |  | 7 | 0.68 | 0.44 | 0.3 | 0.21 | 0.14 | 0.13 | 0.11 | 0.08 | 29000 | 47000 | 3210000 | 9050000 | 3670000000 | 6390000000
S12_2017 | P12 | Piezometer | Piezometer | -6.8655 | 39.1954 | 60 | 2 | 10.11.2017 | 198 | 52.4 | 482 | 194 | 0.031 | 0.106 | 0.149 | 0.026 | 0.005 | 0.001 | 0.007 | 0.005 | 0.001 | 0.003 | 25.7 | 0.01 | 0.001 | 1.08 | 0.484 |  |  | 0.246 | 716 | 1.96 | 603 | 22.84 |  | 447 | 3.34 | 3.5 | 3.5 | 3.35 | 0.41 | 0.38 | 0.31 | 0.26 | 12000 | 21000 | 593000 | 8340000 | 1830000000 | 5780000000
S13_2017 | P22 | Piezometer | Piezometer | -6.8653 | 39.1957 | 60 | 2 | 10.11.2017 | 233 | 41 | 715 | 159 | 0.258 | 0.019 | 0.278 | 0.028 | 0.012 | 0.003 | 0.003 | 0.004 | 0.001 | 0.004 | 31.5 | 0.023 | 0.001 | 1.42 | 0.556 |  |  | 0.115 | 1016 | 3.19 | 1040 | 28.19 |  | 396 | 3.35 | 3.5 | 3.5 | 3.41 | 0.43 | 0.39 | 0.32 | 0.27 | 7000 | 19000 | 715000 | 4770000 | 392000000 | 25000000000
S14_2017 | P23 | Piezometer | Piezometer | -6.8655 | 39.195 | 61 | 2 | 10.11.2017 | 24.3 | 2.76 | 7.7 | 7.1 | 0.046 | 0.004 | 0.002 | 0.023 | 0.003 | 0.001 | 0.003 | 0.002 | 0.001 | 0.007 | 12.5 | 0.001 | 0.001 | 0.16 | 0.07 |  |  | 0.085 | 13 |  | 22 | 4.88 |  | 9 | 3.11 | 2.98 | 1.52 | 0.49 | 0.15 | 0.14 | 0.11 | 0.08 | 4000 | 9000 | 2310000 | 18300000 | 310000000 | 5830000000
S15_2018 | N0 | MFC Well | Shallow well | -6.8663 | 39.1973 | 59 | 2 | 05.04.2018 | 136.846 | 12.4056 | 210.744 | 80.3604 | 0.14589 | 0.00189 | 0.064194 | 0.018662 | 0.010676 | 0.001 | 0.009224 | 0.003 | 0.0001 | 0.002 | 30.3049 | 0.00444 | 0.001891 | 0.69589 | 0.282 | 6.6873 | 2.1263 | 289.5072 | 290.8644 | 4.9944 | 286.0668 | 19.7682 |  | 95.3782 | 3.219 | 3.446 | 3.42 | 2.943 | 0.167 | 0.147 | 0.122 | 0.109 | 7100 | 38400 | 138473.6849 | 585117.7004 | 35585883.76 | 8394962447
S16_2018 | N11 | Piezometer | Piezometer | -6.8663 | 39.1974 | 59 | 2 | 05.04.2018 | 130.463 | 11.7366 | 186.69 | 63.2413 | 0.13019 | 0.003063 | 0.075249 | 0.011862 | 0.003296 | 0.001 | 0.007807 | 0.005 | 0.0001 | 0.002 | 25.411 | 0.004292 | 0.00096 | 0.56531 | 0.43 | 4.2907 | 0.15446 | 220.4504 | 218.3148 | 4.2142 | 203.1924 | 15.9026 |  | 115.7065 | 3.212 | 3.426 | 3.411 | 2.579 | 0.185 | 0.165 | 0.13 | 0.107 | 15200 | 100000 | 7350 | 22000 | 284000 | 5420000
S17_2018 | N12 | Piezometer | Piezometer | -6.8663 | 39.1972 | 59 | 2 | 05.04.2018 | 214.525 | 27.4575 | 358.886 | 138.341 | 0.22981 | 0.002202 | 0.24884 | 0.012945 | 0.01602 | 0.001 | 0.012215 | 0.001 | 0.0001 | 0.001 | 27.1425 | 0.009361 | 0.001 | 0.78115 | 0.1 | 4.4711 | 0.11831 | 476.7572 | 390.4047 | 6.311 | 387.7968 | 32.5271 |  | 362.5697 | 3.309 | 3.5 | 3.5 | 3.361 | 0.398 | 0.355 | 0.292 | 0.251 | 0 | 29600 | 0 | 0 | 0 | 13900000
S18_2018 | N13 | Piezometer | Piezometer | -6.8663 | 39.1973 | 59 | 2 | 05.04.2018 | 162.733 | 22.8995 | 384.281 | 117.45 | 0.12508 | 0.001039 | 0.092883 | 0.005 | 0.005002 | 0.001 | 0.011802 | 0.008 | 0.0001 | 0.003 | 20.6865 | 0.006918 | 0.001 | 0.58159 | 0.349 | 2.1389 | 0.016432 | 434.2608 | 390.986 | 5.6599 | 507.3518 | 24.5178 |  | 298.7252 | 3.255 | 3.49 | 3.5 | 3.235 | 0.262 | 0.231 | 0.189 | 0.167 | 0 | 40000 | 0 | 0 | 0 | 4110000
S19_2018 | MLW | Mama Lucy Shallow Well | Shallow well | -6.858 | 39.2024 | 54 | 100 | 05.04.2018 | 77.8278 | 8.2136 | 176.133 | 46.5681 | 0.069021 | 0.001394 | 0.024513 | 0.013723 | 0.004854 | 0.001 | 0.005498 | 0.004 | 0.0001 | 0.001 | 19.1796 | 0.003194 | 0.001 | 0.43159 | 0.233 | 0.012885 | 0.97607 | 192.5621 | 170.3223 | 3.5479 | 138.0859 | 11.6868 |  | 132.5301 | 3.203 | 3.421 | 3.392 | 2.381 | 0.115 | 0.139 | 0.114 | 0.096 | 9200 | 5280 | 63200 | 77200 | 362000 | 179000000
S20_2018 | MLB | Mama Lucy Borehole | Borehole | -6.8655 | 39.1954 | 60 | 2 | 05.04.2018 | 6.0289 | 12.3917 | 111.384 | 3.1102 | 0.47744 | 0.074974 | 0.054274 | 0.007283 | 0.002 | 0.001 | 0.001747 | 0.001 | 0.0001 | 0.001 | 29.7869 | 0.003881 | 0.001 | 0.17032 | 0.1 | 0.059271 | 0.013146 | 11.4652 | 188.5544 | 1.6352 | 13.9311 | 5.2547 |  | 19.7654 | 1.979 | 1.556 | 0.716 | 0.2 | 0.022 | 0.019 | 0.014 | 0.01 | 0 | 4 | 0 | 0 | 0 | 203000
S21_2018 | MPSB | Mogo Primary School Borehole | Borehole | -6.858 | 39.2024 | 60 | 2 | 05.04.2018 | 36.2164 | 77.7418 | 464.934 | 16.5665 | 0.071581 | 0.004397 | 0.20385 | 0.016858 | 0.01347 | 0.001 | 0.006288 | 0.001 | 0.0001 | 0.001 | 24.2541 | 0.010196 | 0.001 | 0.92491 | 0.204 | 0.07731 | 0.032864 | 11.8193 | 1181.7372 | 6.0862 | 27.6219 | 4.8369 |  | 437.6421 | 2.718 | 2.011 | 0.986 | 0.356 | 0.047 | 0.041 | 0.028 | 0.02 | 92 | 492 | 0 | 1280 | 28500 | 1430000
S22_2018 | KPB | Karakata Primary School Borehole | Borehole | -6.8585 | 39.2031 | 56 | 80 | 05.04.2018 | 20.397 | 43.9867 | 300.135 | 5.9182 | 0.16119 | 0.13729 | 0.0913 | 0.00965 | 0.042298 | 0.003174 | 0.023322 | 0.001 | 0.0001 | 0.001 | 21.2646 | 0.008775 | 0.001 | 0.54954 | 0.107 | 0.11081 | 0.0098593 | 22.8419 | 557.6914 | 2.9983 | 30.6175 | 4.8069 |  | 105.3708 | 2.959 | 2.86 | 1.452 | 0.397 | 0.023 | 0.02 | 0.014 | 0.011 | 1 | 408 | 1280 | 10500 | 69100 | 224000000
S23_2018 | UBW | Uhai Bottled Water | Bottled Water | -6.8663 | 39.1974 |  |  | 05.04.2018 | 1.3121 | 0.83386 | 17.874 | 1.4361 | 0.009427 | 0.001435 | 0.000813 | 0.005192 | 0.002 | 0.001 | 0.000669 | 0.001 | 0.0001 | 0.001 | 2.6004 | 0.001 | 0.001 | 0.01722 | 0.3 | 0.31182 | 0.069015 | 23.0632 | 16.8086 | 0.7813 | 23.228 | 4.2901 |  | 6.1729 | 2.86 | 2.56 | 1.207 | 0.302 | 0.023 | 0.019 | 0.013 | 0.011 | 0 | 0 | 0 | 0 | 24500 | 403000
S24_2018 | KBW | Kilimanscharo Bottled Water | Bottled Water | -6.8663 | 39.1974 |  |  | 05.04.2018 | 7.0766 | 3.6578 | 23.7883 | 7.7129 | 0.001572 | 0.001295 | 0.001 | 0.006174 | 0.039286 | 0.001 | 0.001282 | 0.001 | 0.0001 | 0.001 | 24.339 | 0.001385 | 0.001 | 0.042815 |  |  | 0.0098593 | 9.5617 | 13.8 | 1.4413 | 12.98 | 4.6353 |  | 9.1745 | 1.352 | 1.102 | 0.49 | 0.117 | 0.017 | 0.015 | 0.009 | 0.006 | 0 | 0 | 0 | 0 | 0 | 20800000
S25_2018 | MBW | Masafi Bottled Water | Bottled Water | -6.8663 | 39.1974 |  |  | 05.04.2018 | 0.15851 | 0.080685 | 9.6437 | 1 | 0.001104 | 0.001 | 0.001 | 0.006493 | 0.002 | 0.001 | 0.001 | 0.001 | 0.0001 | 0.001 | 1.3065 | 0.001 | 0.001 | 0.005 | 0.353 | 0.45355 | 0.0065729 | 0.70827 | 14.75 | 0.2991 | 2.509 | 3.5706 |  | 3.166 | 0.08 | 0.034 | 0.027 | 0.017 | 0.007 | 0.006 | 0.002 | 0.001 | 0 | 0 | 0 | 0 | 0 | 95600000
S26_2018 | Cockle Park Farm | E | Borehole | 55.212 | -1.6852 | 90.32 | 51 | 06.05.2018 | 33.2532 | 10.9866 | 19.643 | 4.5633 | 0.067277 | 0.009 | 0.27488 | 0.01 | 0.022 | 0.005 | 0.005 | 0.005 | 0.0001 | 0.005 | 3.9974 | 0.008 | 0.001 | 0.1504 | 0.1 | 0.058558 | 0.12315 | 52.1477 | 32.1659 | 0.60379 | 39.8059 | 1.0614 | 0.19378 | 41.9983 | 3.062 | 3.225 | 2.748 | 0.722 | 0.019 | 0.016 | 0.014 | 0.013 | 10 | 185
S27_2018 | Cockle Park Farm | I | Borehole | 55.2118 | -1.6855 | 91.45 | 151 | 06.05.2018 | 1.0995 | 0.3387 | 209.064 | 2.1376 | 0.1262 | 0.018 | 0.007 | 0.01 | 0.002 | 0.005 | 0.001 | 0.005 | 0.0001 | 0.005 | 3.6015 | 0.001 | 0.001 | 0.023668 | 1.6065 | 0.29794 | 0.064038 | 1 | 16.8079 | 2.489 | 2.0691 | 1.0383 | 0.053873 | 1.4246 | 0.31 | 0.078 | 0.029 | 0.01 | 0.005 | 0.005 | 0.003 | 0.002 | 0 | 0
S28_2018 | Cockle Park Farm | K | Borehole | 55.2119 | -1.6853 | 90.56 | 75 | 06.05.2018 | 18.2575 | 5.9147 | 99.48 | 4.3891 | 0.10172 | 0.021 | 0.61709 | 0.01 | 0.009 | 0.005 | 0.002 | 0.005 | 0.0001 | 0.005 | 4.458 | 0.002 | 0.001 | 0.16173 | 0.6445 | 0.22844 | 0.14778 | 25.2328 | 25.4502 | 1.6205 | 27.0353 | 0.76913 | 0.14717 | 17.9959 | 2.99 | 2.895 | 1.443 | 0.337 | 0.012 | 0.011 | 0.009 | 0.007 | 22.5 | 73.5
S29_2018 | Cockle Park Farm | A | Borehole | 55.2119 | -1.6857 | 91.19 | 51 | 29.05.2018 | 17.5412 | 6.9031 | 84.5589 | 3.6528 | 0.13669 | 0.004177 | 0.72897 | 0.010617 | 0.007561 | 0.005 | 0.001 | 0.005 | 0.0001 | 0.005 | 4.7208 | 0.0021115 | 0.001 | 0.10995 | 0.776 | 0.13514 | 0.20032 | 54.8481 | 30.4155 | 1.2986 | 33.6296 | 0.74571 | 0.398 | 20.128 | 3.059 | 3.176 | 2.618 | 0.677 | 0.013 | 0.01 | 0.008 | 0.009 | 0 | 189.5
S30_2018 | Cockle Park Farm | H | Borehole | 55.2119 | -1.6856 | 91.25 | 75 | 29.05.2018 | 4.4148 | 1.0892 | 168.786 | 4.0471 | 0.22922 | 0.001626 | 0.005567 | 0.017213 | 0.002 | 0.005 | 0.001 | 0.005 | 0.0001 | 0.005 | 3.9014 | 0.001 | 0.001 | 0.078936 | 1.263 | 0.44208 | 0.10345 | 2.4347 | 17.6598 | 1.825 | 3.521 | 2.3401 | 0.094756 | 8.0249 | 0.483 | 0.234 | 0.107 | 0.036 | 0.007 | 0.006 | 0.003 | 0.002 | 0 | 10.5
S31_2018 | Cockle Park Farm | D | Borehole | 55.2122 | -1.6858 | 93.82 | 51 | 29.05.2018 | 26.6353 | 14.2317 | 15.6093 | 3.8426 | 0.14354 | 0.027827 | 0.44211 | 0.0093112 | 0.01382 | 0.005 | 0.003695 | 0.005 | 0.0001 | 0.005 | 4.8634 | 0.002843 | 0.001 | 0.15329 | 0.215 | 0.048906 | 0.11166 | 78.1552 | 31.1968 | 0.67207 | 29.2506 | 0.52116 | 0.16851 | 19.3819 | 3.059 | 3.221 | 3.029 | 0.975 | 0.016 | 0.012 | 0.011 | 0.012 | 0 | 0
S32_2018 | Cockle Park Farm | C | Borehole | 55.2118 | -1.6857 | 91.27 | 51 | 06.07.2018 | 20.6427 | 7.8052 | 38.2779 | 4.2514 | 0.064113 | 0.0015965 | 0.12365 | 0.00765 | 0.016949 | 0.005 | 0.002369 | 0.005 | 0.0001 | 0.005 | 4.201 | 0.0036305 | 0.001 | 0.1124 | 0.3695 | 0.059846 | 0.052544 | 56.2425 | 27.5622 | 0.71967 | 55.5318 | 1.3929 | 0.14813 | 36.1593 | 3.026 | 3.167 | 2.657 | 0.694 | 0.02 | 0.017 | 0.014 | 0.014 | 0 | 0
S33_2018 | Cockle Park Farm | SW | Surface Water | 55.2079 | -1.6846 | 93.54 | 0 | 06.07.2018 | 30.9133 | 6.0224 | 19.0699 | 3.493 | 0.052052 | 0.23927 | 0.016885 | 0.14228 | 0.002 | 0.005 | 0.0032805 | 0.005 | 0.0001 | 0.005 | 1.4207 | 0.001859 | 0.001 | 0.13844 | 0.46 | 0.05341 | 0.052544 | 1.4387 | 40.5666 | 0.69726 | 1.1146 | 0.62945 | 0.20103 | 24.0866 | 0.729 | 0.55 | 0.445 | 0.376 | 0.278 | 0.26 | 0.196 | 0.132 | 101 | 835

## check_limits
Sample ID | Location ID | Sample description | Sample type | Latitude | Longitude | Sea Level | Depth below ground | Sampling date | Total Ca | Total Mg | Total Na | Total K | Total Ba | TotalFe | Total Mn | Total Al | Total Zn | Total Pb | Total Cu | Total As | Total Cd | Total Sb | Total Si | Total Ni | Total Cr | Total Sr | Fluoride | Ammonium | Nitrite | Nitrate | Chloride | Bromide | Nitrate | Phosphate | Nitrite | Sulphate | UV abs 200 | UV abs 210 | UV abs 220 | UV abs 230 | UV abs 254 | UV abs 260 | UV abs 280 | UV abs 300 | Fecal Coliforms | Total Coliforms | Putative Pathogens - Human E.coli | Putative Pathogens - Total E.coli | Putative Pathogens - Total Coliforrm | Total Bacteria | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Method | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | ICP-OES/MS | HACH PS | HACH PS | HACH PS | HACH PS | Ion Chromatography | Ion Chromatography | Ion Chromatography | Ion Chromatography | Ion Chromatography | Ion Chromatography | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | UV-absorption | Plate count, HACH, EPA-600/8-8/017 | Plate count, HACH, EPA-600/8-8/018 | qPCR | qPCR | qPCR | qPCR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UPPER LIMIT | [8 empty] | 100 | 30 | 15 | 30 | 1 | 6 | 3 | 3 | 6 | 3 | 1 | 2 | 0.3 | #N/A | 15 | 1 | 0.3 | 1 | 2.5 | 15 | 20 | 155 | 100 | 100 | 100 | 100 | 100 | 100 | 3.25 | 3.48 | 3.445 | 3.413 | 0.161 | 0.07 | 0.165 | 0.323 | 300 | 300 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
LOWER LIMIT | [8 empty] | 0.02 | 0.02 | 0.1 | 1 | 0.01 | 0.01 | 0.01 | 0.05 | 0.01 | 0.05 | 0.01 | 0.05 | 0.01 | #N/A | 0.1 | 0.01 | 0.01 | 0.01 | 0.1 | 0.02 | 0.05 | 1 | 3 | 5 | 5 | 5 | 3 | 5 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Lab | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | School of Engineering, Newcastle University | Ardhi University | Ardhi University | Newcastle University | Newcastle University | Newcastle University | Newcastle University | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Analyst | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | Jane Davis | David Werner | David Werner | David Werner | David Werner | Henriette Christensen | Henriette Christensen | Henriette Christensen | Henriette Christensen | Henriette Christensen | Henriette Christensen | David Werner | David Werner | David Werner | David Werner | David Werner | David Werner | David Werner | David Werner | Ramadani | Ramadani | Kishor Acharya | Kishor Acharya | Kishor Acharya | Kishor Acharya | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | 0 | mg/l | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | cm-1 | #/100mL | #/100mL | gene copies/100mL | gene copies/100mL | gene copies/100mL | Total bacteria/100mL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1_2017 | N0 | MFC Well | Shallow well | -6.8663 | 39.1973 | 59 | 2 | 10.11.2017 | 159 - high | 13.9 - normal | 255 - high | 55.2 - high | 0.143 - normal | 0.003 - low | 0.002 - low | 0.027 - low | 0.002 - low | 0.001 - low | 0.001 - low | 0.004 - low | 0.001 - low | 0.003 - ? | 28.8 - high | 0.003 - low | 0.002 - low | 0.92 - normal | 0.271 - normal | - low | - low | 0.082 - low | 376 - high | 1.62 - low | 442 - high | 12 - normal | - low | 165 - high | 3.23 - normal | 3.43 - normal | 3.39 - normal | 2.53 - normal | 0.1 - normal | 0.08 - high | 0.07 - normal | 0.07 - normal | 0 - normal | 0 - normal | 62200 - ? | 5500000 - ? | 872000000 - ? | 4680000000 - ?
S2_2017 | N11 | Piezometer | Piezometer | -6.8663 | 39.1974 | 59 | 2 | 10.11.2017 | 190 - high | 22.7 - normal | 326 - high | 66.7 - high | 0.174 - normal | 0.008 - low | 0.148 - normal | 0.021 - low | 0.014 - normal | 0.001 - low | 0.002 - low | 0.006 - low | 0.001 - low | 0.003 - ? | 23.8 - high | 0.006 - low | 0.002 - low | 0.96 - normal | 0.295 - normal | - low | - low | 0.315 - low | 355 - high | 1.46 - low | 432 - high | 16 - normal | - low | 217 - high | 3.28 - high | 3.5 - high | 3.49 - high | 3.07 - normal | 0.2 - high | 0.18 - high | 0.15 - normal | 0.13 - normal | 9000 - high | 6000 - high | 74300 - ? | 738000 - ? | 75300000 - ? | 4920000000 - ?
S3_2017 | N12 | Piezometer | Piezometer | -6.8663 | 39.1972 | 59 | 2 | 10.11.2017 | 256 - high | 36.5 - high | 418 - high | 197 - high | 0.37 - normal | 0.005 - low | 0.296 - normal | 0.02 - low | 0.023 - normal | 0.001 - low | 0.004 - low | 0.005 - low | 0.001 - low | 0.002 - ? | 34.3 - high | 0.012 - normal | 0.001 - low | 1.27 - high | 0.811 - normal | - low | - low | 0.26 - low | 742 - high | 2.31 - low | 1080 - high | 33 - normal | - low | 417 - high | 3.34 - high | 3.5 - high | 3.5 - high | 3.43 - high | 0.35 - high | 0.31 - high | 0.27 - high | 0.25 - normal | 15000 - high | 22000 - high | 172000 - ? | 70700000 - ? | 1290000000 - ? | 23000000000 - ?
S4_2017 | N13 | Piezometer | Piezometer | -6.8663 | 39.1973 | 59 | 2 | 10.11.2017 | 146 - high | 22.9 - normal | 380 - high | 90.9 - high | 0.102 - normal | 0.004 - low | 0.143 - normal | 0.026 - low | 0.01 - normal | 0.001 - low | 0.003 - low | 0.011 - low | 0.001 - low | 0.005 - ? | 27.3 - high | 0.006 - low | 0.001 - low | 0.67 - normal | 0.46 - normal | - low | - low | 0.049 - low | 519 - high | 1.87 - low | 470 - high | 22 - normal | - low | 281 - high | 3.31 - high | 3.5 - high | 3.5 - high | 3.19 - normal | 0.29 - high | 0.26 - high | 0.22 - high | 0.18 - normal | 3000 - high | 5000 - high | 138000 - ? | 6230000 - ? | 236000000 - ? | 8330000000 - ?
S5_2017 | N21 | Piezometer | Piezometer | -6.8665 | 39.1974 | 59 | 2 | 10.11.2017 | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - ? | - low | - low | - low | - low | - low | - low | - low | 0.066 - low | 343 - high | 1.43 - low | 180 - high | 3 - low | - low | 180 - high | 3.23 - normal | 3.43 - normal | 3.37 - normal | 1.94 - normal | 0.12 - normal | 0.11 - high | 0.09 - normal | 0.07 - normal | 2000 - high | 4000 - high | 267000 - ? | 2680000 - ? | 85200000 - ? | 2300000000 - ?
S6_2017 | N22 | Piezometer | Piezometer | -6.8662 | 39.1978 | 59 | 2 | 10.11.2017 | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - ? | - low | - low | - low | - low | 1.21 - normal | - low | - low | 0.066 - low | 749 - high | 2.28 - low | 756 - high | 44 - normal | - low | 286 - high | 3.36 - high | 3.5 - high | 3.5 - high | 3.42 - high | 0.38 - high | 0.34 - high | 0.29 - high | 0.27 - normal | 24000 - high | 39000 - high | 105000 - ? | 22900000 - ? | 5150000000 - ? | 14200000000 - ?
S7_2017 | N23 | Piezometer | Piezometer | -6.8661 | 39.1971 | 59 | 2 | 10.11.2017 | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - low | - ? | - low | - low | - low | - low | 0.292 - normal | - low | - low | 0.043 - low | 197 - high | 0.61 - low | 231 - high | 13 - normal | - low | 141 - high | 3.24 - normal | 3.46 - normal | 3.41 - normal | 2.32 - normal | 0.16 - normal | 0.14 - high | 0.12 - normal | 0.1 - normal | 2000 - high | 5000 - high | 667000 - ? | 550000 - ? | 38400000 - ? | 9430000000 - ?
S8_2017 | CW | Church Well | Shallow well | -6.8658 | 39.1969 | 58 | 2 | 10.11.2017 | 94.7 - normal | 11.1 - normal | 245 - high | 53.7 - high | 0.106 - normal | 0.013 - normal | 0.035 - normal | 0.019 - low | 0.026 - normal | 0.001 - low | 0.006 - low | 0.006 - low | 0.001 - low | 0.004 - ? | 20.6 - high | 0.005 - low | 0.001 - low | 0.54 - normal | 0.276 - normal | - low | - low | 1.531 - normal | 385 - high | 1.35 - low | 220 - high | 10 - normal | - low | 208 - high | 3.27 - high | 3.5 - high | 3.48 - high | 2.59 - normal | 0.27 - high | 0.25 - high | 0.2 - high | 0.16 - normal | 11 - normal | 27 - normal | 95800 - ? | 1790000 - ? | 108000000 - ? | 1180000000 - ?
S9_2017 | MPSB | Mogo Primary School Borehole | Borehole | -6.858 | 39.2024 | 54 | 100 | 10.11.2017 | 20.4 - normal | 43.3 - high | 305 - high | 5.7 - normal | 0.043 - normal | 0.033 - normal | 0.137 - normal | 0.03 - low | 0.002 - low | 0.001 - low | 0.002 - low | 0.001 - low | 0.001 - low | 0.001 - ? | 23.6 - high | 0.008 - low | 0.001 - low | 0.58 - normal | 0.065 - low | - low | - low | 0.036 - low | 665 - high | 4.04 - low | 5 - normal | - low | - low | 108 - high | 0.68 - normal | 0.39 - normal | 0.21 - normal | 0.1 - normal | 0.03 - normal | 0.02 - normal | 0.02 - normal | 0.01 - normal | 2 - normal | 5 - normal | 6600 - ? | 1630000 - ? | 28500000 - ? | 334000000 - ?
S10_2017 | KPB | Karakata Primary School Borehole | Borehole | -6.8585 | 39.2031 | 56 | 80 | 10.11.2017 | 23.1 - normal | 53.4 - high | 380 - high | 6.4 - normal | 0.148 - normal | 0.052 - normal | 0.108 - normal | 0.06 - normal | 0.051 - normal | 0.004 - low | 0.017 - normal | 0.001 - low | 0.001 - low | 0.001 - ? | 49 - high | 0.011 - normal | 0.001 - low | 0.69 - normal | 0.063 - low | - low | - low | 0.043 - low | 1003 - high | 5.12 - normal | 38 - normal | - low | - low | 121 - high | 3.07 - normal | 2.85 - normal | 1.41 - normal | 0.4 - normal | 0.04 - normal | 0.04 - normal | 0.03 - normal | 0.02 - normal | 12 - normal | 18 - normal | 1000 - ? | 5500 - ? | 669000 - ? | 3070000 - ?
S11_2017 | P11 | Piezometer | Piezometer | -6.8655 | 39.1954 | 60 | 2 | 10.11.2017 | 18.5 - normal | 2.01 - normal | 20 - high | 16.2 - normal | 0.034 - normal | 0.029 - normal | 0.027 - normal | 0.048 - low | 0.002 - low | 0.001 - low | 0.001 - low | 0.003 - low | 0.001 - low | 0.001 - ? | 10.9 - normal | 0.002 - low | 0.001 - low | 0.1 - normal | 0.166 - normal | - low | - low | 0.089 - low | 11 - normal | - low | 1 - low | 4.85 - low | - low | 7 - normal | 0.68 - normal | 0.44 - normal | 0.3 - normal | 0.21 - normal | 0.14 - normal | 0.13 - high | 0.11 - normal | 0.08 - normal | 29000 - high | 47000 - high | 3210000 - ? | 9050000 - ? | 3670000000 - ? | 6390000000 - ?
S12_2017 | P12 | Piezometer | Piezometer | -6.8655 | 39.1954 | 60 | 2 | 10.11.2017 | 198 - high | 52.4 - high | 482 - high | 194 - high | 0.031 - normal | 0.106 - normal | 0.149 - normal | 0.026 - low | 0.005 - low | 0.001 - low | 0.007 - low | 0.005 - low | 0.001 - low | 0.003 - ? | 25.7 - high | 0.01 - normal | 0.001 - low | 1.08 - high | 0.484 - normal | - low | - low | 0.246 - low | 716 - high | 1.96 - low | 603 - high | 22.84 - normal | - low | 447 - high | 3.34 - high | 3.5 - high | 3.5 - high | 3.35 - normal | 0.41 - high | 0.38 - high | 0.31 - high | 0.26 - normal | 12000 - high | 21000 - high | 593000 - ? | 8340000 - ? | 1830000000 - ? | 5780000000 - ?
S13_2017 | P22 | Piezometer | Piezometer | -6.8653 | 39.1957 | 60 | 2 | 10.11.2017 | 233 - high | 41 - high | 715 - high | 159 - high | 0.258 - normal | 0.019 - normal | 0.278 - normal | 0.028 - low | 0.012 - normal | 0.003 - low | 0.003 - low | 0.004 - low | 0.001 - low | 0.004 - ? | 31.5 - high | 0.023 - normal | 0.001 - low | 1.42 - high | 0.556 - normal | - low | - low | 0.115 - low | 1016 - high | 3.19 - low | 1040 - high | 28.19 - normal | - low | 396 - high | 3.35 - high | 3.5 - high | 3.5 - high | 3.41 - normal | 0.43 - high | 0.39 - high | 0.32 - high | 0.27 - normal | 7000 - high | 19000 - high | 715000 - ? | 4770000 - ? | 392000000 - ? | 25000000000 - ?
S14_2017 | P23 | Piezometer | Piezometer | -6.8655 | 39.195 | 61 | 2 | 10.11.2017 | 24.3 - normal | 2.76 - normal | 7.7 - normal | 7.1 - normal | 0.046 - normal | 0.004 - low | 0.002 - low | 0.023 - low | 0.003 - low | 0.001 - low | 0.003 - low | 0.002 - low | 0.001 - low | 0.007 - ? | 12.5 - normal | 0.001 - low | 0.001 - low | 0.16 - normal | 0.07 - low | - low | - low | 0.085 - low | 13 - normal | - low | 22 - normal | 4.88 - low | - low | 9 - normal | 3.11 - normal | 2.98 - normal | 1.52 - normal | 0.49 - normal | 0.15 - normal | 0.14 - high | 0.11 - normal | 0.08 - normal | 4000 - high | 9000 - high | 2310000 - ? | 18300000 - ? | 310000000 - ? | 5830000000 - ?
S15_2018 | N0 | MFC Well | Shallow well | -6.8663 | 39.1973 | 59 | 2 | 05.04.2018 | 136.846 - high | 12.4056 - normal | 210.744 - high | 80.3604 - high | 0.145894 - normal | 0.00189 - low | 0.064194 - normal | 0.018662 - low | 0.010676 - normal | 0.001 - low | 0.009224 - low | 0.003 - low | 0.0001 - low | 0.002 - ? | 30.3049 - high | 0.00444 - low | 0.001891 - low | 0.695887 - normal | 0.282 - normal | 6.687315 - normal | 2.126319286 - normal | 289.507175 - high | 290.8644 - high | 4.9944 - low | 286.0668 - high | 19.7682 - normal | - low | 95.3782 - normal | 3.219 - normal | 3.446 - normal | 3.42 - normal | 2.943 - normal | 0.167 - high | 0.147 - high | 0.122 - normal | 0.109 - normal | 7100 - high | 38400 - high | 138473.6849 - ? | 585117.7004 - ? | 35585883.76 - ? | 8394962447 - ?
S16_2018 | N11 | Piezometer | Piezometer | -6.8663 | 39.1974 | 59 | 2 | 05.04.2018 | 130.463 - high | 11.7366 - normal | 186.69 - high | 63.2413 - high | 0.13019 - normal | 0.003063 - low | 0.075249 - normal | 0.011862 - low | 0.003296 - low | 0.001 - low | 0.007807 - low | 0.005 - low | 0.0001 - low | 0.002 - ? | 25.411 - high | 0.004292 - low | 0.00096 - low | 0.565313 - normal | 0.43 - normal | 4.290705 - normal | 0.154462143 - normal | 220.4504176 - high | 218.3148 - high | 4.2142 - low | 203.1924 - high | 15.9026 - normal | - low | 115.7065 - high | 3.212 - normal | 3.426 - normal | 3.411 - normal | 2.579 - normal | 0.185 - high | 0.165 - high | 0.13 - normal | 0.107 - normal | 15200 - high | 100000 - high | 7350 - ? | 22000 - ? | 284000 - ? | 5420000 - ?
S17_2018 | N12 | Piezometer | Piezometer | -6.8663 | 39.1972 | 59 | 2 | 05.04.2018 | 214.525 - high | 27.4575 - normal | 358.886 - high | 138.341 - high | 0.22981 - normal | 0.002202 - low | 0.248843 - normal | 0.012945 - low | 0.01602 - normal | 0.001 - low | 0.012215 - normal | 0.001 - low | 0.0001 - low | 0.001 - ? | 27.1425 - high | 0.009361 - low | 0.001 - low | 0.781151 - normal | 0.1 - normal | 4.471095 - normal | 0.118311429 - normal | 476.7572285 - high | 390.4047 - high | 6.311 - normal | 387.7968 - high | 32.5271 - normal | - low | 362.5697 - high | 3.309 - high | 3.5 - high | 3.5 - high | 3.361 - normal | 0.398 - high | 0.355 - high | 0.292 - high | 0.251 - normal | 0 - normal | 29600 - high | 0 - ? | 0 - ? | 0 - ? | 13900000 - ?
S18_2018 | N13 | Piezometer | Piezometer | -6.8663 | 39.1973 | 59 | 2 | 05.04.2018 | 162.733 - high | 22.8995 - normal | 384.281 - high | 117.45 - high | 0.125081 - normal | 0.001039 - low | 0.092883 - normal | 0.005 - low | 0.005002 - low | 0.001 - low | 0.011802 - normal | 0.008 - low | 0.0001 - low | 0.003 - ? | 20.6865 - high | 0.006918 - low | 0.001 - low | 0.581591 - normal | 0.349 - normal | 2.13891 - normal | 0.016432143 - low | 434.2607625 - high | 390.986 - high | 5.6599 - normal | 507.3518 - high | 24.5178 - normal | - low | 298.7252 - high | 3.255 - high | 3.49 - high | 3.5 - high | 3.235 - normal | 0.262 - high | 0.231 - high | 0.189 - high | 0.167 - normal | 0 - normal | 40000 - high | 0 - ? | 0 - ? | 0 - ? | 4110000 - ?
S19_2018 | MLW | Mama Lucy Shallow Well | Shallow well | -6.858 | 39.2024 | 54 | 100 | 05.04.2018 | 77.8278 - normal | 8.21357 - normal | 176.133 - high | 46.5681 - high | 0.069021 - normal | 0.001394 - low | 0.024513 - normal | 0.013723 - low | 0.004854 - low | 0.001 - low | 0.005498 - low | 0.004 - low | 0.0001 - low | 0.001 - ? | 19.1796 - high | 0.003194 - low | 0.001 - low | 0.43159 - normal | 0.233 - normal | 0.012885 - low | 0.976069286 - normal | 192.5621118 - high | 170.3223 - high | 3.5479 - low | 138.0859 - high | 11.6868 - normal | - low | 132.5301 - high | 3.203 - normal | 3.421 - normal | 3.392 - normal | 2.381 - normal | 0.115 - normal | 0.139 - high | 0.114 - normal | 0.096 - normal | 9200 - high | 5280 - high | 63200 - ? | 77200 - ? | 362000 - ? | 179000000 - ?
S20_2018 | MLB | Mama Lucy Borehole | Borehole | -6.8655 | 39.1954 | 60 | 2 | 05.04.2018 | 6.02887 - normal | 12.3917 - normal | 111.384 - high | 3.11016 - normal | 0.477441 - normal | 0.074974 - normal | 0.054274 - normal | 0.007283 - low | 0.002 - low | 0.001 - low | 0.001747 - low | 0.001 - low | 0.0001 - low | 0.001 - ? | 29.7869 - high | 0.003881 - low | 0.001 - low | 0.170317 - normal | 0.1 - normal | 0.059271 - normal | 0.013145714 - low | 11.4651924 - normal | 188.5544 - high | 1.6352 - low | 13.9311 - normal | 5.2547 - normal | - low | 19.7654 - normal | 1.979 - normal | 1.556 - normal | 0.716 - normal | 0.2 - normal | 0.022 - normal | 0.019 - normal | 0.014 - normal | 0.01 - normal | 0 - normal | 4 - normal | 0 - ? | 0 - ? | 0 - ? | 203000 - ?
S21_2018 | MPSB | Mogo Primary School Borehole | Borehole | -6.858 | 39.2024 | 60 | 2 | 05.04.2018 | 36.2164 - normal | 77.7418 - high | 464.934 - high | 16.5665 - normal | 0.071581 - normal | 0.004397 - low | 0.203854 - normal | 0.016858 - low | 0.01347 - normal | 0.001 - low | 0.006288 - low | 0.001 - low | 0.0001 - low | 0.001 - ? | 24.2541 - high | 0.010196 - normal | 0.001 - low | 0.924906 - normal | 0.204 - normal | 0.07731 - normal | 0.032864286 - low | 11.81932962 - normal | 1181.7372 - high | 6.0862 - normal | 27.6219 - normal | 4.8369 - low | - low | 437.6421 - high | 2.718 - normal | 2.011 - normal | 0.986 - normal | 0.356 - normal | 0.047 - normal | 0.041 - normal | 0.028 - normal | 0.02 - normal | 92 - normal | 492 - high | 0 - ? | 1280 - ? | 28500 - ? | 1430000 - ?
S22_2018 | KPB | Karakata Primary School Borehole | Borehole | -6.8585 | 39.2031 | 56 | 80 | 05.04.2018 | 20.397 - normal | 43.9867 - high | 300.135 - high | 5.91816 - normal | 0.161188 - normal | 0.137292 - normal | 0.0913 - normal | 0.00965 - low | 0.042298 - normal | 0.003174 - low | 0.023322 - normal | 0.001 - low | 0.0001 - low | 0.001 - ? | 21.2646 - high | 0.008775 - low | 0.001 - low | 0.549544 - normal | 0.107 - normal | 0.110811 - normal | 0.009859286 - low | 22.8418505 - normal | 557.6914 - high | 2.9983 - low | 30.6175 - normal | 4.8069 - low | - low | 105.3708 - high | 2.959 - normal | 2.86 - normal | 1.452 - normal | 0.397 - normal | 0.023 - normal | 0.02 - normal | 0.014 - normal | 0.011 - normal | 1 - normal | 408 - high | 1280 - ? | 10500 - ? | 69100 - ? | 224000000 - ?
S23_2018 | UBW | Uhai Bottled Water | Bottled Water | -6.8663 | 39.1974 | missing! | missing! | 05.04.2018 | 1.31215 - normal | 0.833858 - normal | 17.874 - high | 1.43613 - normal | 0.009427 - low | 0.001435 - low | 0.000813 - low | 0.005192 - low | 0.002 - low | 0.001 - low | 0.000669 - low | 0.001 - low | 0.0001 - low | 0.001 - ? | 2.60037 - normal | 0.001 - low | 0.001 - low | 0.01722 - normal | 0.3 - normal | 0.311817 - normal | 0.069015 - normal | 23.06318626 - normal | 16.8086 - normal | 0.7813 - low | 23.228 - normal | 4.2901 - low | - low | 6.1729 - normal | 2.86 - normal | 2.56 - normal | 1.207 - normal | 0.302 - normal | 0.023 - normal | 0.019 - normal | 0.013 - normal | 0.011 - normal | 0 - normal | 0 - normal | 0 - ? | 0 - ? | 24500 - ? | 403000 - ?
S24_2018 | KBW | Kilimanscharo Bottled Water | Bottled Water | -6.8663 | 39.1974 | missing! | missing! | 05.04.2018 | 7.07658 - normal | 3.65778 - normal | 23.7883 - high | 7.71285 - normal | 0.001572 - low | 0.001295 - low | 0.001 - low | 0.006174 - low | 0.039286 - normal | 0.001 - low | 0.001282 - low | 0.001 - low | 0.0001 - low | 0.001 - ? | 24.339 - high | 0.001385 - low | 0.001 - low | 0.042815 - normal | - low | - low | 0.009859286 - low | 9.561704862 - normal | 13.8 - normal | 1.4413 - low | 12.98 - normal | 4.6353 - low | - low | 9.1745 - normal | 1.352 - normal | 1.102 - normal | 0.49 - normal | 0.117 - normal | 0.017 - normal | 0.015 - normal | 0.009 - normal | 0.006 - normal | 0 - normal | 0 - normal | 0 - ? | 0 - ? | 0 - ? | 20800000 - ?
S25_2018 | MBW | Masafi Bottled Water | Bottled Water | -6.8663 | 39.1974 | missing! | missing! | 05.04.2018 | 0.158511 - normal | 0.080685 - normal | 9.64367 - normal | 1 - normal | 0.001104 - low | 0.001 - low | 0.001 - low | 0.006493 - low | 0.002 - low | 0.001 - low | 0.001 - low | 0.001 - low | 0.0001 - low | 0.001 - ? | 1.30651 - normal | 0.001 - low | 0.001 - low | 0.005 - low | 0.353 - normal | 0.453552 - normal | 0.006572857 - low | 0.708274434 - low | 14.75 - normal | 0.2991 - low | 2.509 - low | 3.5706 - low | - low | 3.166 - low | 0.08 - normal | 0.034 - normal | 0.027 - normal | 0.017 - normal | 0.007 - normal | 0.006 - normal | 0.002 - normal | 0.001 - normal | 0 - normal | 0 - normal | 0 - ? | 0 - ? | 0 - ? | 95600000 - ?
S26_2018 | Cockle Park Farm | E | Borehole | 55.212 | -1.6852 | 90.32 | 51 | 06.05.2018 | 33.2532 - normal | 10.9866 - normal | 19.643 - high | 4.56332 - normal | 0.067277 - normal | 0.009 - low | 0.27488 - normal | 0.01 - low | 0.022 - normal | 0.005 - low | 0.005 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 3.99739 - normal | 0.008 - low | 0.001 - low | 0.150402 - normal | 0.1 - normal | 0.0585585 - normal | 0.12315 - normal | 52.147704 - normal | 32.16589155 - normal | 0.603785695 - low | 39.80588031 - normal | 1.061393847 - low | 0.193777929 - low | 41.99834364 - normal | 3.062 - normal | 3.225 - normal | 2.748 - normal | 0.722 - normal | 0.019 - normal | 0.016 - normal | 0.014 - normal | 0.013 - normal | 10 - normal | 185 - normal | - ? | - ? | - ? | - ?
S27_2018 | Cockle Park Farm | I | Borehole | 55.2118 | -1.6855 | 91.45 | 151 | 06.05.2018 | 1.0995 - normal | 0.338699 - normal | 209.064 - high | 2.13763 - normal | 0.126202 - normal | 0.018 - normal | 0.007 - low | 0.01 - low | 0.002 - low | 0.005 - low | 0.001 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 3.60149 - normal | 0.001 - low | 0.001 - low | 0.023668 - normal | 1.6065 - normal | 0.2979405 - normal | 0.064038 - normal | 1 - normal | 16.80792264 - normal | 2.48904743 - low | 2.069080394 - low | 1.038324586 - low | 0.053872561 - low | 1.424610778 - low | 0.31 - normal | 0.078 - normal | 0.029 - normal | 0.01 - normal | 0.005 - normal | 0.005 - normal | 0.003 - normal | 0.002 - normal | 0 - normal | 0 - normal | - ? | - ? | - ? | - ?
S28_2018 | Cockle Park Farm | K | Borehole | 55.2119 | -1.6853 | 90.56 | 75 | 06.05.2018 | 18.2575 - normal | 5.91474 - normal | 99.48 - high | 4.38912 - normal | 0.101722 - normal | 0.021 - normal | 0.617091 - normal | 0.01 - low | 0.009 - low | 0.005 - low | 0.002 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 4.45795 - normal | 0.002 - low | 0.001 - low | 0.161726 - normal | 0.6445 - normal | 0.2284425 - normal | 0.14778 - normal | 25.23276 - normal | 25.45023064 - normal | 1.620541399 - low | 27.03530529 - normal | 0.769128971 - low | 0.147165228 - low | 17.99587932 - normal | 2.99 - normal | 2.895 - normal | 1.443 - normal | 0.337 - normal | 0.012 - normal | 0.011 - normal | 0.009 - normal | 0.007 - normal | 22.5 - normal | 73.5 - normal | - ? | - ? | - ? | - ?
S29_2018 | Cockle Park Farm | A | Borehole | 55.2119 | -1.6857 | 91.19 | 51 | 29.05.2018 | 17.5412 - normal | 6.90305 - normal | 84.5589 - high | 3.65277 - normal | 0.136688 - normal | 0.004177 - low | 0.728972 - normal | 0.0106172 - low | 0.007561 - low | 0.005 - low | 0.001 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 4.72081 - normal | 0.0021115 - low | 0.001 - low | 0.109953 - normal | 0.776 - normal | 0.135135 - normal | 0.200324 - normal | 54.848052 - normal | 30.41548061 - normal | 1.29863138 - low | 33.62964121 - normal | 0.745708972 - low | 0.397997258 - low | 20.12803501 - normal | 3.059 - normal | 3.176 - normal | 2.618 - normal | 0.677 - normal | 0.013 - normal | 0.01 - normal | 0.008 - normal | 0.009 - normal | 0 - normal | 189.5 - normal | - ? | - ? | - ? | - ?
S30_2018 | Cockle Park Farm | H | Borehole | 55.2119 | -1.6856 | 91.25 | 75 | 29.05.2018 | 4.41478 - normal | 1.08916 - normal | 168.786 - high | 4.04713 - normal | 0.229218 - normal | 0.001626 - low | 0.005567 - low | 0.017213 - low | 0.002 - low | 0.005 - low | 0.001 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 3.9014 - normal | 0.001 - low | 0.001 - low | 0.078936 - normal | 1.263 - normal | 0.4420845 - normal | 0.103446 - normal | 2.43474 - normal | 17.65979671 - normal | 1.824984832 - low | 3.521015773 - low | 2.340105556 - low | 0.094756171 - low | 8.024895694 - normal | 0.483 - normal | 0.234 - normal | 0.107 - normal | 0.036 - normal | 0.007 - normal | 0.006 - normal | 0.003 - normal | 0.002 - normal | 0 - normal | 10.5 - normal | - ? | - ? | - ? | - ?
S31_2018 | Cockle Park Farm | D | Borehole | 55.2122 | -1.6858 | 93.82 | 51 | 29.05.2018 | 26.6353 - normal | 14.2317 - normal | 15.6093 - high | 3.84256 - normal | 0.143543 - normal | 0.027827 - normal | 0.442109 - normal | 0.0093112 - low | 0.01382 - normal | 0.005 - low | 0.003695 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 4.86342 - normal | 0.002843 - low | 0.001 - low | 0.153289 - normal | 0.215 - normal | 0.048906 - normal | 0.111656 - normal | 78.155154 - normal | 31.19679531 - normal | 0.672073153 - low | 29.25058736 - normal | 0.521160783 - low | 0.168508885 - low | 19.38192038 - normal | 3.059 - normal | 3.221 - normal | 3.029 - normal | 0.975 - normal | 0.016 - normal | 0.012 - normal | 0.011 - normal | 0.012 - normal | 0 - normal | 0 - normal | - ? | - ? | - ? | - ?
S32_2018 | Cockle Park Farm | C | Borehole | 55.2118 | -1.6857 | 91.27 | 51 | 06.07.2018 | 20.64275 - normal | 7.805165 - normal | 38.2779 - high | 4.251375 - normal | 0.0641125 - normal | 0.0015965 - low | 0.123652 - normal | 0.00765 - low | 0.0169495 - normal | 0.005 - low | 0.002369 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 4.20097 - normal | 0.0036305 - low | 0.001 - low | 0.1124025 - normal | 0.3695 - normal | 0.0598455 - normal | 0.052544 - normal | 56.242494 - normal | 27.56216658 - normal | 0.719672211 - low | 55.53184995 - normal | 1.392879044 - low | 0.148130513 - low | 36.15933781 - normal | 3.026 - normal | 3.167 - normal | 2.657 - normal | 0.694 - normal | 0.02 - normal | 0.017 - normal | 0.014 - normal | 0.014 - normal | 0 - normal | 0 - normal | - ? | - ? | - ? | - ?
S33_2018 | Cockle Park Farm | SW | Surface Water | 55.2079 | -1.6846 | 93.54 | missing! | 06.07.2018 | 30.9133 - normal | 6.022405 - normal | 19.0699 - high | 3.49302 - normal | 0.0520515 - normal | 0.239271 - normal | 0.016885 - normal | 0.1422835 - normal | 0.002 - low | 0.005 - low | 0.0032805 - low | 0.005 - low | 0.0001 - low | 0.005 - ? | 1.420715 - normal | 0.001859 - low | 0.001 - low | 0.1384375 - normal | 0.46 - normal | 0.0534105 - normal | 0.052544 - normal | 1.43871 - normal | 40.56660722 - normal | 0.697262708 - low | 1.114567296 - low | 0.629447016 - low | 0.201033887 - low | 24.08664743 - normal | 0.729 - normal | 0.55 - normal | 0.445 - normal | 0.376 - normal | 0.278 - high | 0.26 - high | 0.196 - high | 0.132 - normal | 101 - normal | 835 - high | - ? | - ? | - ? | - ?
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## graph
first_blank | 39 | Nitrate | UV abs 230 | Sample_ID | Nitrate | UV abs 230 | curveN | curveUV
|  | 31 | 41 | S1_2017 | 0.082 | 2.53 | 0.1 | 0.002481
|  | AE | AO | S2_2017 | 0.315 | 3.07 | 1 | 0.024658
|  |  |  | S3_2017 | 0.26 | 3.43 | 10 | 0.23226
Fitting parameters |  |  |  | S4_2017 | 0.049 | 3.19 | 100 | 1.4694
a | b |  |  | S5_2017 | 0.066 | 1.94 | 1000 | 3.1441
3.6 | 145 |  |  | S6_2017 | 0.066 | 3.42 | 10000 | 3.5485
|  |  |  | S7_2017 | 0.043 | 2.32 | 100000 | 3.5948
|  |  |  | S8_2017 | 1.531 | 2.59 | 1000000 | 3.5995
|  |  |  | S9_2017 | 0.036 | 0.1
|  |  |  | S10_2017 | 0.043 | 0.4
|  |  |  | S11_2017 | 0.089 | 0.21
|  |  |  | S12_2017 | 0.246 | 3.35
|  |  |  | S13_2017 | 0.115 | 3.41
|  |  |  | S14_2017 | 0.085 | 0.49
|  |  |  | S15_2018 | 289.5072 | 2.943
|  |  |  | S16_2018 | 220.4504 | 2.579
|  |  |  | S17_2018 | 476.7572 | 3.361
|  |  |  | S18_2018 | 434.2608 | 3.235
|  |  |  | S19_2018 | 192.5621 | 2.381
|  |  |  | S20_2018 | 11.4652 | 0.2
|  |  |  | S21_2018 | 11.8193 | 0.356
|  |  |  | S22_2018 | 22.8419 | 0.397
|  |  |  | S23_2018 | 23.0632 | 0.302
|  |  |  | S24_2018 | 9.5617 | 0.117
|  |  |  | S25_2018 | 0.70827 | 0.017
|  |  |  | S26_2018 | 52.1477 | 0.722
|  |  |  | S27_2018 | 1 | 0.01
|  |  |  | S28_2018 | 25.2328 | 0.337
|  |  |  | S29_2018 | 54.8481 | 0.677
|  |  |  | S30_2018 | 2.4347 | 0.036
|  |  |  | S31_2018 | 78.1552 | 0.975
|  |  |  | S32_2018 | 56.2425 | 0.694
|  |  |  | S33_2018 | 1.4387 | 0.376
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 1000 | 0
[5 empty] | 10000 | 0
[5 empty] | 100000 | 0

## detection_limits
parameter_method | parameter | method | lower_limit | upper_limit
Ammonium_HACH PS | Ammonium | HACH PS | 0.02 | 15
Bromide_Ion Chromatography | Bromide | Ion Chromatography | 5 | 100
Chloride_Ion Chromatography | Chloride | Ion Chromatography | 3 | 100
Fecal Coliforms_Plate count, HACH, EPA-600/8-8/017 | Fecal Coliforms | Plate count, HACH, EPA-600/8-8/017 | 0 | 300
Fluoride_HACH PS | Fluoride | HACH PS | 0.1 | 2.5
Fluoride_Ion Chromatography | Fluoride | Ion Chromatography | 3 | 100
Nitrate_HACH PS | Nitrate | HACH PS | 1 | 155
Nitrate_Ion Chromatography | Nitrate | Ion Chromatography | 5 | 100
Nitrite_HACH PS | Nitrite | HACH PS | 0.05 | 20
Nitrite_Ion Chromatography | Nitrite | Ion Chromatography | 3 | 100
Phosphate_Ion Chromatography | Phosphate | Ion Chromatography | 5 | 100
Sulphate_Ion Chromatography | Sulphate | Ion Chromatography | 5 | 100
Total Al_ICP-OES/MS | Total Al | ICP-OES/MS | 0.05 | 3
Total As_ICP-OES/MS | Total As | ICP-OES/MS | 0.05 | 2
Total Ba_ICP-OES/MS | Total Ba | ICP-OES/MS | 0.01 | 1
Total Ca_ICP-OES/MS | Total Ca | ICP-OES/MS | 0.02 | 100
Total Cd_ICP-OES/MS | Total Cd | ICP-OES/MS | 0.01 | 0.3
Total Coliforms_Plate count, HACH, EPA-600/8-8/018 | Total Coliforms | Plate count, HACH, EPA-600/8-8/018 | 0 | 300
Total Cr_ICP-OES/MS | Total Cr | ICP-OES/MS | 0.01 | 0.3
Total Cu_ICP-OES/MS | Total Cu | ICP-OES/MS | 0.01 | 1
Total K_ICP-OES/MS | Total K | ICP-OES/MS | 1 | 30
Total Mg_ICP-OES/MS | Total Mg | ICP-OES/MS | 0.02 | 30
Total Mn_ICP-OES/MS | Total Mn | ICP-OES/MS | 0.01 | 3
Total Na_ICP-OES/MS | Total Na | ICP-OES/MS | 0.1 | 15
Total Ni_ICP-OES/MS | Total Ni | ICP-OES/MS | 0.01 | 1
Total Pb_ICP-OES/MS | Total Pb | ICP-OES/MS | 0.05 | 3
Total Si_ICP-OES/MS | Total Si | ICP-OES/MS | 0.1 | 15
Total Sr_ICP-OES/MS | Total Sr | ICP-OES/MS | 0.01 | 1
Total Zn_ICP-OES/MS | Total Zn | ICP-OES/MS | 0.01 | 6
TotalFe_ICP-OES/MS | TotalFe | ICP-OES/MS | 0.01 | 6
UV abs 200_UV-absorption | UV abs 200 | UV-absorption | 0.001 | 3.25
UV abs 210_UV-absorption | UV abs 210 | UV-absorption | 0.001 | 3.48
UV abs 220_UV-absorption | UV abs 220 | UV-absorption | 0.001 | 3.445
UV abs 230_UV-absorption | UV abs 230 | UV-absorption | 0.001 | 3.413
UV abs 254_UV-absorption | UV abs 254 | UV-absorption | 0.001 | 0.161
UV abs 260_UV-absorption | UV abs 260 | UV-absorption | 0.001 | 0.07
UV abs 280_UV-absorption | UV abs 280 | UV-absorption | 0.001 | 0.165
UV abs 300_UV-absorption | UV abs 300 | UV-absorption | 0.001 | 0.323